Think with the end in mind

Goals:

- How to avoid: “I recovered 2lbs of refrigerant, now what?”

- Lots of terms: Superheat, subcooling, cc’s and oz’s, boiling at -14F, condensing, humidity, Fahrenheit, sensible heat, latent heat, dehydration, thermocouple

- Effortful practice with tools

The Components

- Walk through all the AC components on a machine

- Can I get enough components to have them on a bench?

The Refrigerant Cycle

- Introduce the refrigerant cycle with the goal of understanding sensible and latent heat and superheat and subcooling.

  - Introduce the flow through an orifice comparison to hydraulic systems

    - Forcing the changing of pressure working with a chemical the boils at -14F

  - Introduce the concept of boiling

    - water at 5000 feet compared to sea level.

    - Coolant inside the cooling system is under pressure

  - It’s only possible to remove heat

  - Magic of forcing the changing of state – sensible and latent heat

- Technicians can use the tools – effortful practice

  - Successfully recover, (repair), dehydrate, charge

    - What does moisture do to the system?

  - Field Kit- recover reusable bottle

  - Oil and die injections

  - System flushing

- Maintain accounting of system oil

  - Why do some recoveries pull more oil than others?

  - Effects of too much oil

  - cc’s versus oz

- Technicians can diagnose gauge readings

  - Explore the refrigerant cycle around the system with the goal of understanding gauge readings.

  - Refrigerant temperature and pressure relationship

  - Cause failures by blocking air flow around the system

    - Block condenser or evaporator with cardboard

    - Block recirc or fresh air by bagging filters

  - Identify under and overcharged systems

- Leak finding

- Practice voltage-drop testing AC cab switch

  - Super common voltage-drop failure

  - LED in switch may only be slightly dim

- 7-Step diagnosis

  - Verify concern and repair

    - Specifications (temps, speeds, and time)

    - Measuring duct temperature

  - Separate electrical from refrigerant failures

  - Bypass failures to verify the rest of the system

    - Substitute (high current test light, disconnecting pressure switch, partially filling system)

  - MCC flash codes